## HD
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP 08/07/2025 | HD50 A 220/50 R290 | HD70 W 220/50 R290 | HD70 A 220/50 R290 | HD100 A 220/50 R290 | HD100 W 220/50 R290 | HD150 A 220/50 R290 | HD150 W 220/50 R290 | HD215 A 220/50 R290 | HD215 W 220/50 R290 | HD315 A 220/50 | HD415 A 220/50 | HD415 W 220/50
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 57 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | MANICOTTO USCITA CONDENSATORE W | 7 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
82 | REMATE BOCA DCHO | RIGHT DOOR GUARD | COPERTURA BOCCA DESTRA | 39 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
83 | REMATE BOCA IZDO | LEFT DOOR GUARD | COPERTURA BOCCA SINISTRA | 48 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
92 | TAPON GPN 300 F21 | CAP | TAPPO GPN 300 F21 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
105 | ABRAZADERA INOX 8-16/9W4 NORMA S/F | JUBILEE CLIP INOX 8-16/9W4 NORMA S/F | FASCETTA INOX 8-16 / 9W4 STANDARD S / F | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
155 | CASQUILLO EJE PUERTA NG NEGRO | DOOR AXE BUSHING | BUSSOLA ALBERO PORTA NG NERA | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
156 | TOPE COMPAS NG | DOOR BUMPER | FERMO PORTA NG | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
159 | PILAR DELANTERO NG-40 DCHO (159RB) | RIGH SIDE FRONT COLUMN | PILASTRO ANTERIORE NG-40 DESTRA | Consultar/ consult | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
160 | PILAR DELANTERO NG-40 IZDO (160RB) | FRONT COLUMNE LEFT SIDE | PILASTRO ANTERIORE NG-40 SINISTRA | 20 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
248 | TORN. DIN 965 M-5X15 INOX | SCREW DIN 965 M-5X15 INOX | VITE INOX DIN965 M5 x15 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
258 | TUERCA DIN 934 M-5 INOX | NUT M5 STAINLESS D934 | DADO DIN 934 M-5 INOX | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0
260 | TUERCA DIN 934 M-4 INOX | NUT M4 STAINLESS D934 | DADO DIN 934 M-4 INOX | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
263 | ARANDELA DIN 125 M-6 INOX | WASHER STAINLESS M6 D 125 | RONDELLA DIN 125 M-6 INOX | 5 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
264 | ARANDELA DIN 125 M-5 INOX | WASHER STAINLESS M5 D125 | RONDELLA. DIN 125 M-5 INOX | Consultar/ consult | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
285 | TUERCA DIN 934 M-8 ZINC | M8 GAL. NUT | DADO DIN 934 M-8 ZINCO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
288 | ARANDELA DIN 125 M-8 ZINC | M8 GAL WASHER | RONDELLA. DIN 125 M-8 ZINCO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | DADO 522-1C 213020-3 (5283-PNA) DELTATONE | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 13 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
329 | VALV AGUA 3.5 B (1152) | INLET WATER VALVE | ELETTROVALV. ACQUA 3.5 B | 17 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
334 | PRESOSTATO SEGURIDAD (30.3-21.7KG) | SAFETY PRESSURE SWITCH | PRESSOSTATO ACB-2UB62(30.3-21.7)02AC0076 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
335 | VALVULA SCHRADER 1/4" CAP.S/LLAVE OBUS COMPLETO | VALVE FOR REFRIGERANT REFILL | VALVOLA SCHRADER 1/4 CON VALVOLINA | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | FLANGIA UNEX RIF.1201-FORI- | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | Consultar/ consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | RACCORDO SCARICO AQUA 3 VIE | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
364 | TUBO CRISTAL 20-25 ALIMENTARIO | GLASS TUBE 20-25 | TUBO CRISTAL ALIMENTARE 20-25 TUBCLAIR | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
392 | TORN. DIN 912 M-6X16 INOX A2 | SCREW DIN 912 M-6X16 INOX A2 | VITE DIN 912 M-6X16 INOX A2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | Consultar/ consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
420 | GRASA LÍTICA ALTA PRESIÓN EP2 | GREASE MULTIFAK | GRASSO MULTIFAK EP2 TEXACO | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
425 | VALVULA PRESOSTATICA | WATER PRESOSTATIC VALVE | VALVOLA PRESSOSTATICA DI ACQUA V 46 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
426 | TUERCA SAE 3/8" (7010/33) | NUT SAE 3/8 | "BOCCHETTONE SAE 3/8""" | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
430 | UNION 3/8-SAE 3/8GAS RECT.MM | UNION 3/8 SAE 3/8 GAS STRAIGHT | UNIONE 3/8 SAE 3/8 GAS RETTA | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
487 | CONDENSADOR Q6V 8X4 C/B | AIR CONDENSER 8X4 | CONDENSATORE Q6V 8X4 C/B | 182 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
504 | ANILLA COMPRESION SCB 1853-224106 | COMPRESSION RING 5CB 1853-224106 | ANELLO DI COMPRESSIONE SCB 1853-224106 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
547 | BOBINA YB09 230/50-60Hz 304398(5173) | COIL YB09 230/50-60 | BOBINA YB09 230 / 50-60Hz 304398 (5173) | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
557 | TIRANTE LATERAL NG-40 (557CT) | SIDE TENSE NG-40 | TIRANTE LATERALE NG-40 | 9 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
614 | TAPON UNIVERSAL PULSAR | STANDARD STOPPER | TAPPO UNIVERSALE PULSAR | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
702 | MUELLE PUERTA NG | DOOR SPRING NG | MOLLA SPORTELLO NG | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
780 | DESAGÜE CUBA BLANCO | WHITE DRAINAGE TRAY | SCARICO CUVA BIANCO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
842 | ABRAZADERA TUBO RICH 101 ( 11.9-13.5) | JUBILEE CLIP RICH 101 (11.9-13.5) | FASCETTA PEER TUBO RICH 101 (11.9-13.5) | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
843 | VALV.PARKER SOL 3/8"PM145.6IRSP V10S3 | HOT GAS VALVE | "VALV.PARKER 3/8"" PM145.6IRSP V10S3" | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
848 | ABRAZADERA TUBO RICH 108 ( 40.5-46.0) | BRACKET INOX | FASCETTA PER TUBO RICH 108 (40.5-46.0) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
856 | PERFIL VINIGOM GRIS-3124- (PL1/109) | PERFIL VINIGOM | PROFILO VINIGOM GRIGGIO-3124- (PL1 / 109) | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | TAGLIO TUBO 10X16 Trasparente CR10 RINFORZATO30 ml / rotollo | 13 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
911 | DISTRIBUIDOR DE AGUA | WATER DISTRIBUTOR P6585145 | DISTRIBUTTORE ACQUA P65-85-145 | 22 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
914 | T SOLDAR 3/8 | T WELD 3/8 | TEE SALDATURA 3/8 | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1
1001 | COJINETE PUERTA NG NEGRO | DOOR BUSHING | BUSSOLA PORTA NG NERA | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1015 | ESPIGA VALVULA PRESOSTATICA | PRESSOSTATIC VALVE CONNECTION | MANICOTTO VALVOLA PRESSOSTATICA | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
1028 | RESTRICTOR 3.5L/MIN VERDE VALV.ENT.W(1054) | WATER REGULATOR 3.5 L/M' | RESTRITTORE 3.5L / MIN VALV.ENT.W (1054) verde | 7 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
1035 | VAVULA DE EXPANSION ORIF.6 | EXPANSION VALVE 0,68 404 | VALV.EXP. TUB 068U2099 ORIF.6 (404) IQ550 | 133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
1468 | VALV.PARKER VE127ILS 1.5 | HOT GAS VALVE BODY 1.6 | VALV.PARKER VE127ILS 1.5 360142 | 38 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1473 | VALVULA PARKER | HOT GAS VALVE BODY VE127CLS-2.5-220V | VALV.PARKER127 CLS 2.5 | 52 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
1483 | RELE OMRON MY2F 5 A 220 V | RELE ONROM (1993/4) | RELE ONROM | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
1570 | SEP PARTICULAS D 30X150-1 4 X1 4 | SEP PARTICLES D 30X150-1 4 X1 4 | BOYLER D 30X150-1 4 X1 4 | 7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
1582 | DEFLECTOR GOTAS BOMBA EJE 8 | DEFLECTOR DROPS PUMP SHAFT 8 | DEFLETTORE GOCCE POMPA ALBERO 8 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
1689 | RACOR ENTRADA AGUA IQ | INLET WATER FITTING | TUBO INGRESSO W IQ | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
2068 | TOPE REJILLA TRASERA | ELASTIC STOPPERS ON REAR GRILLE | FERMO GRIGLIA POSTERIORE | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2124 | ALARGADERA 3X2.5X2.5 VDE | ELECTRICAL SUPPLY WIRE | ALARGADERA 3X2.5X2.5 VDE | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2171 | PATA SAB 20 | LEG (SHORT) | PIEDE PICCOLO (20) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
2181 | HNG CAJA ELECTRICA | ELECTRIC BOX | SCATOLA ELETTR.HNG | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
2192 | REJILLA TRASERA NG70 PINTADA | REAR GRILL | GRIGLIA POSTERIORE NG70 VERNICIATA | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2222 | TUBO DESAGUE NG 40 | DRAIN TUBE | TUBO DI SCARICO NG 40 | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2287 | INTERRUPTOR AZUL 22x30 BIPOLAR C/CAPUCHON UL SX825C18B1F210000 | ON/OFF SWITCH | INTERRUTTORE GENERALE ON/OFF | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
2432 | REMACHE GALV. M-5X12 HEX.CAB.REDUC. | RIVET | RIVETTO ZINC. M-5X12 HEX.CAB.REDUC. (PSZROH-0525-250) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1
2446 | MOTOR VENTILADOR 220-50/60 | FAN MOTOR | MOTOR VENTILATORE | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
2507 | PRESOSTATO 15'5-18KG | CONDENSATION PRESSOSTAT | PRESSOSTATO HTB-3UC29(15.5-18)03HT0003 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
2520 | ARO PASACABLES 44'4 (15514) | GROMET | ANELLO DI PASSAGGIO 44'4 (15514) | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1
2560 | DESHIDRATADOR DML032S | DRIER FILTER DML032S 023Z4822 | DESHIDRATATORE DML032S (023Z482291) | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
3363 | TUBO 3/8 CURV EVAP.MV200 | PIPE 3/8 | + TUBO 3/8 CURVA EVAP.MV200 | 12,00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
3586 | CORTE MANGUERA 10x16 800mm | PIPE 10 X 16 800MM | TAGLIO TUBO 10x16 800mm | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
3707 | TUBO 1/4 CURV. U/C -160- | TUBE 1/4 CURV. U/C -160- | TUBO 1/4 CURVO U / C -160- | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3719 | TUBO 1/4 CURV. U/C -264- | TUBE 1/4 CURV. U/C -264- | TUBO1/4 CURVO U / C -264- | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3720 | TUBO 1/4 CURV. U/C -80- | CURVED TUBE 1/4. C/U -80- | TUBO 1/4 CURVO U / C -80- | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3796 | TUBO 1/4 CURV U/C (L.GAS CAL) -193- | TUBE 1/4 CURV U/C (L.GAS CAL) -193- | 1/4 CURV U / C TUBE (L.GAS CAL) -193- | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
3808 | TUBO 1/4 CURV U/C (LINEA LIQ) -130- | CURVED COPPER PIPE 1/4 C/U (LINE LIQ) -130- | TUBO 1/4 CURVO U / C(LINEA LIQ.) -130- | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
3979 | REMACHE HEX. M8X16.5 STM8HUPO30 TUERCA REMACHABLE | HEX RIVET M8X16.5 STM8HUPO30 RIVET NUT | DADO RIVETATO HEX. M8X16.5 STM8HUPO30 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4027 | ABRAZADERA TUBO RICH 103 ( 19.1-22.2) | JUBILEE CLIP RICH 103 (19.1-22.2) | RICH 103 TUBE CLAMP (19.1-22.2) | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | SUPPORTO CONDENSATORE W ALTO | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | SUPPORTO CONDENSATORE W BASSO | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | SUPPORTO CONDENSATORE W ESTERNO | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4051 | PALET NG-55 | PALLET 55 | PALLET NG-55 | Consultar/ consult | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4060 | ESPIGA SALIDA CONDENSADOR W-ECP 12x35 | W CONDENSER OUTLET PIN | - & -MANICOTTO USCITA CONDENSATORE W-ECP 12x35 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4088 | REJILLA TRASERA NG55 PINTADA | REAR GRILL | GRIGLIA POSTERIORE NG55 VERNICIATA | Consultar/ consult | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4165 | PUERTA NG-55 (4165CT) | DOOR NG 60 | SPORTELLO NG-55 | 32 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4168 | FRENTE INFERIOR NG-55 (4168CT) | FRONT PANEL NG | ANTERIORE INFERIORE NG-55 | Consultar/ consult | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4312 | OMEGA REFUERZO BANCADA ECP 52 (4312CT) | REINFORCEMENT OMEGA FOR BEDPLATE | OMEGA PIASTRA DI BASE ECP 52 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
4393 | REJILLA AIREACION NG60 (4393CT) | VENTILATION GRILLE NG60 | GRIGLIA AERAZIONE NG60 | 36 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4476 | RESTRICTOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | WATER REGULATOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | RESTRICTORE 2.5L / MIN GIALLO VALV.ENT.W (1007) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4496 | JUNTA TORICA 17X2 BLANCA FDA CERTIFICADA | O-RING 17X2 SILICONE | GUARNIZIONE O-RING BIANCA 17x2 FDA CERTIFICATA | 3 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
4521 | BANDEJA BOMBA ECP-ECO-NG | WATER PUMP TRAY | BACCINELLA POMPA ECP-ECO-NG | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4527 | RESTRICTOR 1.2L/MIN MARRON VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4769 | BOMBA DPN25-347 NSF 220/50Hz | WATER PUMP 220V/50HZ | POMPA DPN25-347 NSF 220/50Hz | 58 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 10 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4907 | RETENEDOR CABLE Z10.5 o.B. 9641156602 UL | RETAINER CABLE / WIRING FIXING | PRESACAVO Z10.5 o.B. 9641156602 UL | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0
4956 | SOPORTE BOMBA NG-30 (4956CT) | WATER PUMP SUPPORT | SUPPORTO POMPA NG-30 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4961 | TUBO ASPIRACION BOMBA NG20-30 | WATER PUMP SUCTION TUBE | TUBO ASPIRAZIONE POMPA NG20-30 | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
5016 | COND.W (4V) 2.7M - REP=5242 | WATER CONDENSER | COND.W (4V) 2.7M - REP = 5242 | Consultar/ consult | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5173 | BOBINA VAL.G.C.220/50-60Hz ENGASTADA | HOT GAS COIL 220V-50/60Hz | BOBINA GAS CALDO 220V-50/60HZ | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5791 | PUERTA NG-55 | DOOR ASSEMBLY NG | SPORTELLO NG-55 | 89 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6073 | CUBIERTA MS-400 | TOP PANEL | COPERCCHIO MS-400 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6074 | -&-BANCADA MS | BASE PLATE | - & - PIASTRA DI BASE MS | 102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6078 | CUBA AGUA MS | WATER BIN | BACINELLA ACQUA MS | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6079 | SOPORTE BOMBA MS | PUMP SUPPORT | SUPPORTO POMPA MS | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6081 | CORTINA MS-200 (GRIS) | CURTAIN MS220 | CORTINA MS-200 (GRIGGIO) | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6084 | REJILLA LATERAL MS | SIDE LOUVER | GRIGLIA LATERALE MS | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6092 | MARCO SPIKA 30" | "EVAPORATOR FRAME 30""" | "MARCHIO SPIKA 30""" | 28 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6106 | CIERRE SOPORTE BOMBA MS | CLOSING PUMP SUPPORT | CHIUSURA DI SUPPORTO POMPA MS | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6131 | TUBO DESAGUE MS | DRAIN PIPE | TUBO DI SCARICO MS | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6132 | REMATE TUBOS EVAPORADOR MS | PIPE PROTECTION | FISSAGGIO TUBI EVAPORATORI MS | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6161 | INTERRUPTOR MS 3 POSIC(ON-OFF-ON) RL31-13-G-6-BK/BK-P4 | SWITCH (ICE-STANDBY-WASH) | INTERRUTTORE POSIC (ON-OFF-ON) MS 3 RL31-13-G-6-BK / BK-P4 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6178 | SENSOR A061-1V-DA-0-40 | CURTAIN MAGNET PROBE | SENSORE A061-1V-DA-0-40 (RICAMBI 6521) | 21 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6179 | IMAN 10X3 MNDIAM010003 TMax 80ºC | MAGNET | MAGNETE 10X3 MNDIAM010003 TMax 80ºC | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6180 | CLIP PANEL HEMBRA NYLON | CLIP PANEL 14 (FEMALE) | CLIP PANELLO FEMMINA NYLON DCS-7 38000152 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6181 | CLIP PANEL MACHO NYLON | CLIP PANEL 16 (MALE) | CLIP PANNELLO MASCHIO NYLON DCS-1 38000150 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6183 | VALVULA AGUA MS 220V NORYL DSVP12 220/240VAC | WATER VALVE | VALVOLA ACQUA MS 220V NORYL DSVP12 220 / 240VAC | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0
6206 | COLECTOR DESAGUE MS NEGRO | DRAIN PIPE MS BLACK | COLLETORE SCARICO MS NERO | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6208 | BOMBA AGUA 9W 230V/50-60Hz | WATER PUMP | POMPA ACQUA 9W 230V / 50-60Hz | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6209 | REJILLA TRASERA SPIKA 26" PINTADA | REAR GRILL NG | "GRIGLIA POSTERIORE SPIKA 26"" VERNICIATA" | 21 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6227 | EVAP. MONTADO SPK 60/125 1/2" | "EVAPORATOR 60/125 1/2""" | "EVAP. MONTATO SPK 60/125 1/2""" | 537 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6233 | EVAP. MONTADO SPK 100/215 1/2" | "EVAPORATOR 1/2""" | "EVAP. MONTATO SPK 100/215 1/2""" | 822 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6241 | CALDERIN 77x220 130.1073.A | LIQUIDE RECEIVER | RICEVITORE 77x220 130.1073.A | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6269 | PANEL FRENTE MS 200/440 | FRONT PANEL | PANNELLO FRONTALE MS 200/440 | 135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6270 | PANEL FRENTE MS 400/880 | FRONT PANEL | PANNELLO FRONTALE MS 400/880 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6295 | PUERTA SPIKA 80/175 | DOOR SPIKA | SPORTELLO SPIKA 80/175 | 76 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6296 | PUERTA SPIKA 130/285 | DOOR SPIKA | SPORTELLO SPIKA 130/285 | 83 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6300 | TRASERA SPIKA 80/175 (6300CT) | REAR COVER | POSTERIORE SPIKA 80/175 | 31 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6301 | TRASERA SPIKA 130/285 (6301CT) | REAR COVER | POSTERIORE SPIKA 130/285 | 36 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6306 | TAPA REGISTRO BOMBA SPIKA (6306RB) | COVER POMP | COPERCHIO DI CONTROLLO POMPA SPIKA | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6316 | TRASERA MS 400/880 (6316CT) | REAR PANEL | POSTERIORE MS 400/880 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6317 | SOPORTE CUADRO MS 400/880 (6317RB) | ELECTRONIC BOX SUPPORT | TABELLA DI SUPPORTO MS 400/880 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6321 | TIRANTE TRASERO MS (6321RB) | UPPER REAR SUPPORT | TIRANTE POSTERIORE MS | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6326 | BANCADA U/C MS 440 (6326CT) | BASE PLATE C/U A | BANK U / C MS 440 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6327 | LATERAL DCHO MS 200/440 (6327PL) | RIGTH PANEL | FIANCO DESTRO MS 200/440 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6328 | LATERAL IZDO MS 200/440 (6328PL) | LEFT PANEL | FIANCO SINISTRO MS 200/440 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6329 | LATERAL DCHO MS 400/880 (6329PL) | RIGHT SIDE PANEL 400 | LATO LATERALE MS 400/880 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6330 | LATERAL IZDO MS 400/880 (6330PL) | LEFT SIDE PANEL 400 | LATO SINISTRO MS 400/880 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6331 | TIRANTE DELANTERO MS (6331RB) | UPPER FRONT SUPPORT | TIRANTE ANTERIORE MS | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6338 | EVAPORADOR MS 200/440 1/2 MONTADO | "EVAPORATOR 1/2""" | EVAPORATORE MS 200/440 1/2 MONTATO | 1249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6340 | EVAPORADOR MS 400/880 1/2" MONTADO | "EVAPORATOR 400/880 MS 1/2""" | """EVAPORATORE MS 400/880 1/2 """"MONTATO""" | 2308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6355 | RESTRICTOR 5L/MIN NEGRO VALV.ENT.W (1008) | 5L/MIN RESTRICTOR W INLET VALVE | RESTRITTORE 5L / MINNERO VALV.ENT.W (1008) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6396 | VALVULA SOL 1/4" Orif.3mm V4S2 | HOT GAS VALVE - BODY | "VALV.PARKER 1/4"" Orif.3mm V4S2" | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6398 | PALA VENT. 300X22º ALUM. | FAN BLADE 300X22º | PALA DI VENDITA ALLUMINIO 300X22º. 73816-2-3634 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
6403 | RESTRICTOR 6.5MM SPIKA 60/125 | 6MM RESTRICTOR 60/125 | RESTRICTOR SPIKA 60/125 6,5 MM | 13 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6406 | REMACHE JACK-NUT M-5x18.19 JNS-05-100 | JACK-NUT RIVET M-5x18.19 JNS-05-100 | RIVETTI JACK-NUT M-5x18.19 JNS-05-100 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6414 | RESTRICTOR COLECTOR SPIKA DIAM.7 | FLOW REDUCER | RESTRICTOR SPIKA DIAM 7 COLLECTOR | 11 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6462 | DISTRIBUIDOR SPK 125 -330MM- (911) | WATER INLET | DISTRIBUTORE SPK 125 -330MM- (911) | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6485 | RESTRICTOR COLECTOR SPIKA DIAM 9 | WATER DISTRIBUTOR RESTRICTOR | RESTRITTORE COLLETTORE SPIKA DIAM 9 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1
6501 | SOPORTE VENTILADOR P300 H75 2D (6501RB) | FAN BLADE SUPPORT | SUPPORTO VENTILATORE | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
6509 | BOMBA MS 400/880 230/50/60 | WATER PUMP | POMPA MS 400/880 230/50/60 | 152 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6526 | TUBO PVC 16-18 NSF-ABS 40MM | PVC TUBE 16-18 NSF-ABS 40 MM | TUBO IN PVC 16-18 NSF-ABS 40MM | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6552 | BANCADA U/C MS W (6552CT) | BASE PLATE C/U W 220 | PIASTRA DI BASE U / C MS W | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6557 | PALA VENTILADOR 300x28º ALUM. | FAN BLADE | PALA VENTILATORE | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6655 | PERNO REMACHABLE M-5x10 FHS-M5-10 INOX | RIVETABLE BOLT M-5x10 FHS-M5-10 | PERNO RIVETTATO M-5x10 FHS-M5-10 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6718 | TUBO 1/4 CURV | TUBE 1/4 CURV | 1/4 TUBO CURVO | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6719 | TUBO 3/8 CURV | TUBE 3/8 CURV | TUBO 3/8 CURV | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA LIBERO B 220 / 50-60HZ | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
6981 | VALV AGUA LIBRE B/LIBRE B 220V/50-60HZ | WATER INLET VALVE B 220V/50-60HZ | ELETTROVALV ACQUA LIBERO B / LIBERO B 220V / 50-60HZ | 16 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
6985 | TUBO RECTO ENS. 100MM 1/4 | STRAIGHT COPPER TUBE 100MM 1/4 | TUBO DRITTO ALLARGATO 100MM 1/4 | 5 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
7476 | MINI-PRESOST. ACB-2UA149 15.5-18 BAR (AMARILLO) 02AC0122 | CONDENSATION PRESSURE SWITCH | PRESSOSTATO DI CONDENZAZIONE | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
7896 | DESHIDRATADOR 20 GR 1E 1S 1/4" C/CURVA | FILTER DRIER | "ESSICCATORE 20 GR 1E 1S 1/4"" CON CURVA" | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
7931 | TORN. RFX81T 5X20 INOX TORX (914305) | SCREW 5X20 INOX | VITE. RFX81T 5X20 INOX TORX (914305) | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8462 | SEPAR.PART.D34X0.6X170 1A 3/8-3/8 | PARTICLES SEPARATOR D34X0.6X170 1A 3/8-3/8 | BOYLER .D34X0.6X170 1A 3 / 8-3 / 8 | 13 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8670 | SOPORTE SONDA AGUA MS | SUPPORT WATER LEVEL SENSOR | SUPPORTO SONDA ACQUA MS | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | ISOLAMENTO VALV. EXP. DANFOSS TUB | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
30412 | BANCADA MS22 | BASEMENT MS22 | BANK MS22 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30413 | CUBA AGUA MS22 | WATER TRAY MS22 | MS22 WATER CUBE | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30414 | TESTERO INFERIOR EVAPORADOR MS22 | EVAPORATOR LOWER END CAP MS22 | EVAPORATORE INFERIORE TESTERO MS22 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30415 | ANCLAJE TESTERO INFERIOR EVAPORADOR MS22 | LOWER END ANCHOR EVAPORATOR MS22 | ANCORAGGIO TESTER INFERIORE EVAPORATORE MS22 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30416 | TESTERO SUPERIOR EVAPORADOR MS22 | MS22 EVAPORATOR UPPER HEAD | MS22 TESTER SUPERIORE EVAPORATORE | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30417 | ANCLAJE TESTERO SUPERIOR EVAPORADOR MS22 | UPPER END ANCHOR EVAPORATOR MS22 | ANCORAGGIO SUPERIORE TESTER EVAPORATORE MS22 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30420 | CORTINA MS22 | CURTAIN MS22 | TENDA MS22 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30421 | SOPORTE DETECTOR ESPESOR MS22 | THCIKNESS LEVEL SENSOR SUPPORT MS22 | MS22 SUPPORTO RILEVATORE SPESSORE | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30422 | DISTRIBUIDOR AGUA MS22 | WATER DISTRIBUTOR MS22 | DISTRIBUTORE ACQUA MS22 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30423 | CUBIERTA MS22 | MS22 COVER | COPERCHIO MS22 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30424 | REJILLA LATERAL MS22 | SIDE GRILL MS22 | MS22 GRIGLIA LATERALE | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30425 | REMATE INFERIOR FRENTE MS22 | LOWER FINISH FRONT MS22 | BOTTOM REMATE FRONT MS22 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30426 | REMATE SUPERIOR FRENTE MS22 | UPPER FINISH FRONT MS22 | TOP REMATE FRONTALE MS22 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30427 | TAPA DISTRIBUIDOR AGUA MS22 | WATER DISTRIBUTOR COVER | MS22 COPERCHIO DISTRIBUZIONE ACQUA | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30428 | CUERPO MS22 | MS22 BODY | CORPO MS22 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30682 | TAPON AISLAMIENTO CUERPO DISTRIBUIDOR MS22 | WATER DISTRIBUTOR PROTECTION | MS22 SPINA DI ISOLAMENTO DEL CORPO DISTRIBUTORE | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30683 | TAPON AISLAMIENTO CUERPO EVAPORADOR MS22 | EVAPORATOR BODY INSULATION CAP MS22 | MS22 SPINA ISOLANTE CORPO EVAPORATORE | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30684 | TUBO IMPULSION MS22 SUPERIOR | IMPULSION PIPE MS22 SUPERIOR | MS22 TUBO IMPULSIONE SUPERIORE | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30690 | CURVA EVAPORADOR MS22 | EVAPORATOR CURVE MS22 | MS22 CURVA EVAPORATORE | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30722 | ARANDELA DIN 9021 M-5 INOX A2 (5.3X15X1.2) | ARAND. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | RONDELLA. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30741 | SOPORTE CUADRO MS22 (30741CT) | FRAME SUPPORT MS22 | MS22 SUPPORTO DA TAVOLA | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30742 | PUENTE DCHO MS22 (30742CT) | RIGHT BRIDGE MS22 | MS22 PONTE DESTRO | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30743 | TIRANTE TRASERO MS22 (30743RB) | REAR STAY MS22 | STRISCIA POSTERIORE MS22 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30745 | TIRANTE DELANTERO MS22 (30745RB) | FRONT STAY MS22 | SPALLA ANTERIORE MS22 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30746 | TRASERA MS22 (30746CT) | REAR MS22 | POSTERIORE MS22 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30747 | LATERAL DCHO MS22 (30747CT) | RIGHT SIDE MS22 | LATO LATO MS22 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30748 | LATERAL IZDO MS22 (30748CT) | LEFT SIDE PANEL MS22 | LATO SINISTRO MS22 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30749 | PANEL FRENTE MS22 | FRONT PANEL MS22 | MS22 PANNELLO FRONTALE | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30752 | EVAPORADOR MS22-700 1/2 MONTADO | MS22-700 1/2 EVAPORATOR, HALF-ASSEMBLED | EVAPORATORE MS22-700 1/2 MONTATO | 1542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30793 | ETIQUETA ICE TECH CORTE E IMPRESION 110x16 mm MARCA | ICE TECH LABEL CUT AND PRINT 110x16 mm BRAND | ETICHETTA ICE TECH TAGLIO E TAMPA 110x16 mm MARCHIO | 11 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30802 | ABRAZADERA CLIP W4 INOX 16 (16.5 - 18) | JUBILEE CLIP W4 INOX 16 (16.5 - 18) | FASCETTA CLIP W4 INOX 16 (16.5 - 18) | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
30803 | PERFIL RECT. 10X2 SILICONA NEGRA ADHESIVA FDA 21.177.2600 | STRAIGHT PROFILE 10X2 BLACK ADHESIVE SILICONE FDA 21.177.2600 | PROFILO RETTO ADESIVO NERO SILICONE 10X2 FDA 21.177.2600 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30810 | TUBO 3/8 L - 380 - | TUBE 3/8 L - 380 - | TUBO 3/8 L - 380 - | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30811 | TUBO 3/8 CURV - 405 - | TUBE 3/8 CURV - 405 - | TUBO 3/8 CURV- 405- | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30850 | CONEXION SALIDA DESAGÜE | DRAIN FORCE FITTING | COLLEGAMENTO USCITA SCARICO | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30861 | TAPA CAJA ELECTRICA MS C/CONECTORES | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA MS C / CONNETTORI | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
30867 | CUERPO MS22 AISLADO (30428) | INSULATED MS22 BODY (30428) | MS22 ISOLATED BODY (30428) | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30868 | BANCADA U/C MS22 (30868CT) | CONDENSING UNIT BENCH MS22 | BANK U / C MS22 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30908 | TAPA REJILLA LATERAL MS22 (30908CT) | MS22 SIDE GRILL LID | MS22 COPERCHIO GRIGLIA LATERALE | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30910 | TORN. CH88H 3.9X25 CINC. NEGRO (9N3925CH88H) | SCREW CH88H 3.9Z25 ZINC BLACK | VITE. CH88H 3.9X25 ZINC. NERO (9N3925CH88H) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
30982 | SENSOR NIVEL AGUA MS AISLADO | INSULATED WATER LEVEL SENSOR | SENSOR LIVELLO ACQUA MS ISOLATO | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
31246 | RESTRICTOR 9 mm SPIKA MS22 | RESTRICTOR 9 mm SPIKA MS22 | RESTRICTOR SPIKA MS22 9 mm | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
31276 | REFRIGERANTE R452A | REFRIGERANT R452A | REFRIGERANTE R452A | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
31300 | COMPRESOR EMT6144U (4.5CC) CSIR 220-240/50 R290 | COMPRESSOR EMT6144U (4.5CC) CSIR 220-240/50 R290 | COMPRESSORE EMT6144U (4.5CC) CSIR 220-240 / 50 R290 | 230 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31302 | COMPRESOR (7.28CC) CSIR 220-240/50 R290 | COMPRESSOR (7.28CC) 220-240/50 R290 | COMPRESSORE (7.28CC) 220-240/50 R290 | Consultar/ consult | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31306 | COMPRESOR NEU6217U (14.3CC) CSIR 220-240/50 R290 | COMPRESSOR (14.3CC) 220-240/50 R290 | COMPRESSORE NEU6217U (14.3CC) CSIR 220-240 / 50 R290 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31307 | COMPRESOR NEU6220U (16.8CC) CSR 220-240/50 R290 | COMPRESSOR NEU6220U (16.8CC) CSR 220-240/50 R290 | COMPRESSORE NEU6220U (16.8CC) CSR 220-240 / 50 R290 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
31340 | COMPRESOR NTU6234GKV 208-230/60 404A (23.74CC) CSCR | COMPRESSOR NTU6234GKV 208-230/60 404A (23.74CC) CSCR | COMPRESSORE NTU6234GKV 208-230 / 60 404A (23.74CC) CSCR | 618 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
31444 | DISTRIBUIDOR DES-GC C/PRESOSTATO | PRESSURE SWITCH COLLECTOR | "DISTRIBUTTORE MAN.-GC C / PRESOST. 1/4 """"X1 / 4""""""" | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31496 | INTERRUPTOR B4 20A MOLVENO (B418S1F210150) (EVE00175) AZUL | SWITCH B4 20A MOLVENO BLUE | INTERRUTTORE MOLVENO B4 20A (B418S1F210150) (EVE00175) BLU | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
31521 | VALVULA EXPANSION ORIF.1 (R290) 1/4X1/2 | EXPANSION VALVE | VALVOLA ESPANSIONE ORIF.1 (R290) 1/4X1/2 | 139 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31523 | VALVULA EXPANSION ORIF.3 (R290) 1/4X1/2 | EXPANSION VALVE | VALVOLA ESPANSIONE ORIF.3 (R290) 1/4X1/2 | 133 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31524 | VALVULA EXPANSION ORIF.4 (R290) 1/4X1/2 | EXPANSION VALVE | VALVOLA ESPANSIONE ORIF.4 (R290) 1/4X1/2 | 139 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31544 | CLIP PLACA CB SPT-DUAL LOCK-NATURAL (DLCBS8-3-01) | ELECTRONIC BOARD CLIP | CLIP PLACCA CB SPT-DUAL LOCK-NATURAEL (DLCBS8-3-01) | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31665 | CAJA INTERRUPTOR NG | MAIN SWITCH BOX | SCATOLA INTERRUTTORE NG | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31719 | PULSADOR N/P NEGRO | CLEANING SWITCH | PULSANTE N/P NERO | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31737 | CUADRO Y CABL. NG SPIKA 220V ELECTRONICA ATEX | ELECTRONIC BOX AND CABL NG SPIKA 220V ATEX | TABELLA E CAVO. NG SPIKA 220V ELECTRONICA | 143 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31746 | PASACABLES D20 (30007 GROM OPEN 20X1/16) | WIRE HOLE | PASSACAVI D20 (30007 PASS. APERTO 20X1/16) | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32016 | CANTONERA GRUPO 3 LONGITUD 825-815-790-780 | GROUP 3 LENGTH EDGE 825-815-790-780 | TELAIO GRUPPO 3 LUNGHEZZA 825-815-790-780 | 7 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32017 | CANTONERA GRUPO 4 LONGITUD 745-730-705-675 | GROUP 4 ANGLE LENGTH 745-730-705-675 | TELAIO GRUPPO 4 LUNGHEZZA 745-730-705-675 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32143 | CODO COBRE 90 MACHO-HEMBRA 1/2" (216290) | "90 MALE-FEMALE COPPER ELBOW 1/2"" (216290)" | """GOMITO DI RAME 90 MASCHIO-FEMMINA 1/2 """"(216290)""" | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
32251 | CONDENSADOR 9X4 2V T1/4 | AIR CONDENSER | CONDENSATORE 9X4 2V T1/4 | 215 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
32324 | PUENTE IZDO MS 200/440 W (32324RB) | LEFT BRIDGE MS 200/440 W | PONTE SINISTRA MS 200/440 W. | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
32327 | PUENTE IZDO MS 400/880 W (32327RB) | LEFT BRIDGE MS 400/880 W | PONTE SINISTRA MS 400/880 W. | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32415 | PILOTO LED AZUL 220V (SX28H15XAF000XX) EVE00219 | BLUE LED | PILOTA LED BLU 220V (SX28H15XAF000XX) EVE00219 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
32416 | INTERRUPTOR A1 NEGRO 10A AT | MAIN SWITCH | INTERRUTTORE A1 NERO 10A AT | Consultar/ consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
32441 | EMBELLECEDOR INTERRUPTOR ATEX NG | MAIN SWITCH SUPPORT | SUPPORTO / INTERRUTTORE INTERRUTTORE + LED | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
32502 | RELE FINDER 668282404303 240VAC 2NA 30A ATEX | FINDER RELAY 668282400303 240VAC 2NO 30A ATEX | RELE FINDER 668282400303 240VAC 2NA 30A ATEX | 116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
32644 | SONDA NTC INOX 6X30 2.5M C/CONECTOR (AX2426/02500) | TEMPERATURE PROBE | SONDA NTC INOX 6X30 2,5M CON CONETTORE(AX2426/ 02500) | 19 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
32660 | SOPORTE CUADRO MS200 R290 (32660CT) | ELECTRIC BOX SUPPORT | MS22 SUPPORTO DA TAVOLA | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
32835 | REJILLA LATERAL PROTECCION CABLEADO MS200 R290 (32835CT) | WIRE PROTECTION GRILL | GRIGLIA DI PROTEZIONE PER CAVI | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
32895 | MOTOR VENT. NIQ3224-330450 100-240 V 50/60HZ 1550 RPM | FAN MOTOR 100-240 V 50/60HZ | MOTORE DEL VENTILATORE 100-240 V 50/60 HZ | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
33303 | COMPRESOR EMX6210U (9.04CC) CSIR 220-240/50 R290 | COMPRESSOR 220-240/50 R290 | COMPRESSORE NEU6210U (8.78CC) CSIR 220-240 / 50 R290 | 274 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33471 | EVAP. TERMINADO SPK 60/125 1/2" | "EVAPORATOR 60/125 1/2""" | "EVAP. SPK 60/125 1/2""" | 482 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33473 | EVAP. TERMINADO SPK 100/215 1/2" | "EVAPORATOR 1/2""" | "EVAP. SPK 100/215 1/2""" | 793 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33477 | EVAP. TERMINADO MS 400/880 1/2" | "EVAPORATOR 400/880 MS 1/2""" | """EVAPORATORE MS 400/880 1/2 """"MONTATO""" | 1983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33481 | EVAP. TERMINADO MS22-700 1/2" | EVAP. COMPLETED MS22-700 1/2" | EVAPORATORE MS22-700 1/2 MONTATO | 1307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
33483 | EVAP. TERMINADO MS 200/440 1/2" | "EVAPORATOR 1/2""" | EVAPORATORE MS 200/440 1/2 MONTATO | 1148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
33635 | VALVULA DESAGÜE MS 220V | MS 220V DRAIN VALVE | VALVOLA DI SCARICO MS 220V | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
33671 | COND.AGUA 5.5V 7KW TUBO 19 (DIAM 140) | WATER CONDENSER 5.5V 7KW TUBO 19 (DIAM 140) | COND.WATER 6V TUBE 35 (DIAM 340) -MR | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
34292 | CAJA ELECTRICA COMPLEMENTARIA COMPRESOR 8450A | ADDITIONAL ELECTRICAL BOX FOR COMPRESSOR 8450A | SCATOLA ELETTRICA AGGIUNTIVA PER COMPRESSORE 8450A | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
34546 | TUERCA D-6923 GRAFILADA A2 INOXIDABLE M4/70 | NUT STAINLESS A2 M4/70 | DADO IN ACCIAIO INOSSIDABILE A2 M4/70 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
34547 | TUERCA D-6923 GRAFILADA A2 INOXIDABLE M5/80 | NUT STAINLESS A2 M5/80 | DADO IN ACCIAIO INOSSIDABILE A2 M5/80 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
34558 | CARATULA SEÑALIZACION MS | COVER SIGNALLING MS | SEGNALAZIONE DI COPERTURA MS | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
34856 | BASCULANTE PUERTA NG60 | DIP TRAY NG60 | VASSOIO DIP NG60 | 17 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34954 | TAPON CABLE DISPLAY MS30 | MS30 DISPLAY CABLE PLUG | MS30 SPINA CAVO DISPLAY | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
34955 | TAPON INFERIOR CABLE DISPLAY MS30 | MS30 DISPLAY CABLE BOTTOM PLUG | MS30 DISPLAY CAVO SPINA INFERIORE | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
35078 | PINZA SUJETAPALAS | PADDLE CLAMP | MORSETTO PER PAGAIA | Consultar/ consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
35173 | PALA VENT. 300X19º ALUM. | FAN BLADE 300X19º | PALA DEL VENTILATORE 300X19º | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
35449 | FILTRO AIRE MS30" 400KG 18.9 X 26.3 X 0.09 | AIR FILTER MS30" 400KG | FILTRO ARIA MS30" 400KG | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
113A | CLIP REMATE BOCA | CLIP | CLIP FERMO BOCCA | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
140A | COMPAS PUERTA NG DCHO | DOOR RIGHT COMPASS NG MODELS | COMPASSO PORTA NG DESTRA | 30 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
141A | COMPAS PUERTA NG IZDO | DOOR LEFT COMPASS NG MODELS | COMPASSO PORTA NG SINISTRA | 30 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
161A | PILAR TRASERO NG-40 (161ARB) | BACK SIDE COLUMNE NG | PILASTRO POSTERIORE NG-40 | 19 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
207A | PILAR ACOMETIDAS NG-40 (207ARB) | MULTIPLE OUT PUT COLUMNE NG | PILASTRO COLLEGAMENTI NG-40 | 21 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2531A | MARCO EVAPORADOR SPIKA 21" | "SPIKA EVAPORATOR FRAME 21""" | "MARCHIO EVAPORATORE SPIKA 21""" | 20 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2535A | SEPARADOR CORTO SPIKA V50 | SMALL V50 SEPARATOR | SEPARATORE V50 PICCOLO | 5 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2537B | TAPON DISTRIBUIDOR IZDO SPIKA V3 | SPIKA LEFT DISTRIBUTOR CAP | TAPPO DISTRIBUTORE SINISTRA SPIKA V2 | 6 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2538B | TAPON DISTRIBUIDOR DCHO SPIKA V3 | SPIKA V3 RIGHT DISTRIBUTOR PLUG | TAPPO DISTRIBUTORE DESTRA SPIKA V2 | 6 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2978G | TESTERO IZQ.EVAP. MV-400 | LEFT HEAD EVAP. MV-400 | IZQ.EVAP TESTER. MV-400 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2981G | TESTERO DER.EVAP. MV-200 | HEADER RIGHT EVAP. MV-200 | PARTE DESTRA EVAP. MV-200 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
30027A | MINICONTACTOR GMC-12M AC240V 4P 4A | MINICONTACTOR GMC-12M AC240V 4P 4A | MINICONTATTORE GMC-12M AC240V 4P 4A | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1
30418A | TESTERO DERECHO EVAPORADOR MS22-400 | EVAPORATOR RIGHT END HEAD MS22-400 | MS22 EVAPORATORE DESTRA TESTER | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30419A | TESTERO IZQUIERDO EVAPORADOR MS22-400 | EVAPORATOR LEFT END HEAD MS22-400 | TESTER SINISTRO EVAPORATORE MS22 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30429A | CONDENSADOR 23X3 MS22 | CONDENSER 23X3 MS22 | CONDENSATORE 23X3 MS22 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30468A | TUBO DESAGUE MS22 | DRAIN PIPE MS22 | MS22 TUBO DI SCARICO | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
30469A | TUBO IMPULSION MS22 INFERIOR | LOWER IMPULSION PIPE MS22 | TUBO DI IMPULSIONE INFERIORE MS22 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
31160E | PRESOSTATO (11.5-13.5 BAR) R290 | FAN CONTROL PRESSURE SWITCH | PRESSOSTATO NSDHF12B00100 (11.5-13.5 BAR) R290 | 36 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
31570A | BASE CUADRO ELECTRICO NG R290 ATEX (31570ACT) | ELECTRIC BOX SUPPORT | BASE SCATOLA ELETTRICA NG R290 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31571A | TAPA CUADRO ELÉCTRICO R290 ATEX (31571ACT) | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTRICA R290 | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
31660E | PRESOSTATO (25-20 BAR) R290 | HIGH PRESSURE SWITCH | PRESSOSTATO NSDHA 12B00300 (25-20 BAR) R290 | 35 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0
3268A | CONDENSADOR AGUA 10V TUBO 22 (DIAM 250) | CONDENSER W MV400 | COND. ACQUA 10V TUBO 22 (DIAM 250) | 1014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
33309U | U/C MS 200 A 220/50 R290 2.0 | U/C MS 200 A 220/50 R290 2.0 | U / C MS 200 A 220/50 R290 | 860 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
33475A | EVAP. TERMINADO SPK 130/285 1/2" | EVAPORATOR 1/2" SPIKA 140/285 | "EVAP. TERM. SPK 130/285 1/2 """ | 986 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
34642A | PLACA CONTROL MS 22-30-48 220V 50/60HZ | CONTROL BOARD MS 22-30-48 220V 50/60HZ | SCHEDA DI CONTROLLO MS 22-30-48 220 V 50/60 Hz | 315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
35452A | FILTRO AIRE MS30" 200KG 16.1 X 16.1 X 0.09 | MS30 AIR FILTER 200KG 16.1 X 16.1 X 0.09 | FILTRO ARIA MS30 200KG 16,1 X 16,1 X 0,09 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4170A | CUBIERTA NG-55 (4170ACT) | TOP PANEL NG | COPERCHIO NG-55 | 53 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4172A | TRASERA NG-55 (4172ACT) | REAR COVER NG | POSTERIORE NG-55 | 10 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
486A | CONDENSADOR 8X3 C/B | AIR CONDENSER 8X3 | CONDENSATORE Q4V 8x3 C/B | Consultar/ consult | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
489UA | LATERAL NG-40 R290 (489UACT) | SIDE PANEL | FIANCO DESTRO NG-40 R290 | 61 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5750A | EVAP. MV400 1/2 NIQ. AC (6340) | EVAP. MV400 1/2 NIQ. BC (6340) | EVAP. MV400 1/2 NIQ. AC (6340) | 2249 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6080A | CORTINA MS-400 (GRIS) | CURTAIN MS-400 (GREY) | TENDINA MS-400 (GRIGIA) | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6085GA | TESTERO SUPERIOR MS | TOP PANEL EVAPORATOR | EVAPORATORE DEL PANNELLO SUPERIORE | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6093A | CORTINA SPIKA ELECTRONICA 26" | "CURTAIN 26""" | """TENDA SPIKA 26 """"""" | 110 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6094A | CORTINA SPIKA ELECTRONICA 30" | "CURTAIN 30""" | """TENDA SPIKA 30 """"""" | 119 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6095B | CORTINA SPIKA ELECTRONICA 21" | "CURTAIN SPIKA 21""" | "CORTINA SPIKA 21 """ | 61 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6099A | SOPORTE ENTRADA W SPIKA 21" | WATER INLET SUPPORT 21" | SUPPORTO PER INGRESSO ACQUA 21" | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6126A | TUBO IMPULSION SPIKA 21" | WATER PUMP OUT TUBE 21 | TUBO MANDATA SPIKA 21" | 12 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6128A | TUBO IMPULSION SPIKA 26-30" | WATER PUMP OUT TUBE 26-30 | TUBO MANDATA SPIKA 26-30 " | 14 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6129A | TUBO IMPULSION MS SUPERIOR | UPPER WATER PUMP DISCHARGE TUBE | TUBO MANDATA SUPERIORE MS | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6130A | TUBO IMPULSION MS INFERIOR | LOWER WATER PUMP DISCHARGE TUBE | TUBO MANDATA INFERIORE MS | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6157A | CONDENSADOR 26X3 MS | CONDENSER 26*3 MS | CONDENSATORE 26X3 MS-400 D90717 | 612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6239A | EVAP. MONTADO SPK 150/285 1/2" | EVAPORATOR 1/2" SPIKA 140/285 | "EVAP. TERM. SPK 130/285 1/2 """ | 986 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6245U | CUBA STOCK SPIKA 70/155 R290 TERMINADA (6245UCO) | SPIKA BIN | STOCK BASCA SPIKA 70/155 R290 (6245UCO) | 180 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6246U | CUBA STOCK SPIKA 100/220 R290 TERMINADA (6246UCO) | SPIKA BIN | SERBATOIO STOCK SPIKA 100/220 R290 (6246UCO) | Consultar/ consult | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6247A | CUBA STOCK SPIKA 150/360 TERMINADA (6247ACO) | SPIKA BIN | SERBATOIO STOCK SPIKA 150/360 (6247ACO) | 172 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6252D | PLACA CONTROL MS 220V 50/60HZ NTC (V3.01) EX | MS 220V 50/60HZ NTC CONTROL PLATE (V3.01) EX | TARGA DI CONTROLLO MS 220V 50 / 60HZ NTC (V2.00) EX | 183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
6283A | CUBIERTA SPIKA 80/175 (6283ACT) | TOP PANEL NG | COPERTURA SPIKA 80/175 | 69 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6284A | CUBIERTA SPIKA 130/285 (6284ACT) | TOP PANEL SPIKA | COPERCHIO SPIKA 130/285 | 85 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
6315U | TRASERA MS 200/440 R290 (6315UCT) | REAR PANEL | POSTERIORE MS 200/440 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6319U | PUENTE DCHO MS 200/440 R290 (6319URB) | RIGHT BRIDGE | PONTE DESTRO MS 200/440 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6320A | PUENTE DCHO MS 400/880 (6320ARB) | RIGHT BRIDGE-SUPPORT | PONTE DESTRA MS 400/880 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6321U | TIRANTE TRASERO MS R290 (6321URB) | BACK BRIDGE | DIRITTO POSTERIORE MS R290 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0
6334B | SENSOR ESPESOR MS GRIS | THICKNESS ICE BLOCK SENSOR MS GREY | SENSORE DI SPESSORE BLOCCO DI GHIACCIO MS GRIGIO | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1
6343C | CUERPO MS 400/880 AISLADO | MS 400/880 ISOLATED BODY | MS 400/880 CORPO ISOLATO | 307 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6456A | JUNTA DISTRIBUIDOR SPIKA V2 | DISTRIBUTOR JOINT V2 | GUARNIZIONE DISTRIBUTORE SPIKA V2 | 11 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1
6500U | SOPORTE VENTILADOR P250 H55 1D R290 (6500URB) | FAN SUPPORT | SUPPORTO VENTOLA P250 H55 1D R290 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6521A | SENSOR MS ENGASTADO | MS SENSOR | SENSORE MS CRIMPATO | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6552U | BANCADA U/C MS W R290 (6552UCT) | BASE PLATE C/U W 220 | PIASTRA DI BASE U / C MS W | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
8143E | PLACA CONTROL ELECTRONICA 220V/50-60HZ | ELECTRONIC BOARD 220V/50-60HZ | PLACA ELETTRONICA CUBETTI / SPIKA 220V / 50-60HZ (V / S CSPK05) 02.52.0441.R2 EX | 102 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
8450A | COMPRESOR(FH2) FH4524Z XC TU 220/240V-50HZ (43.5CC) (FH4ZB1JF606A23) | COMPRESSOR FH4524Z F 220/240V-50HZ (43.5CC) | COMPRESSORE FH4524Z F 220 / 240V-50HZ (43.5CC) (2505230123-M) | 1505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8575A | INTERCAMBIADOR HX1/2 0.37KW 1/2X1/4 | EXCHANGER PACKLESS HXR-25 1/2X1/4 | SCAMBIATORE HXR-25 1 / 2X1 / 4 SENZA PACCHETTO (390220) | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
8671A | TOPE SONDA CORTINA MS | CURTAIN PROBE STOP MS | SONDA TENDA PARAURTI MS | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1