## SS L
ARTÍCULO | DESCRIPCIÓN | Inglés | Italiano | PVP 08/07/2025 | ICE TECH SS 35 A L 220V-50HZ | ICE TECH SS 35W L 220V-50HZ | ICE TECH SS 45A L 220V-50HZ | ICE TECH SS 45W L 220V-50HZ | ICE TECH SS 60A L 220V-50HZ | ICE TECH SS 60W L 220V-50HZ | ICE TECH SS 80A L 220V-50HZ | ICE TECH SS 80W L 220V-50HZ | ICE TECH SS 135A L 220V-50HZ | ICE TECH SS 135 W L 220V-50HZ | ICE TECH SS400 III A L | ICE TECH SS400 A L -I- 220/60
28 | MOTOR VENT.10W+PIE H72 220/50 M4Q045-CA03-51+71883 | FAN MOTOR 10W H72 220/50 | MOTOVENTILATORE 10W + PIE H 72 220/50 | 57 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | TUBO CAPILAR 1'5 X 2'5(0,02958 K/Ml) | CAPILLARY TUBE 1.5 X 2.5 | TUBO CAPILLARE 1'5 X 2.5 '(0,030K / Ml) | 7 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
44 | ESPIGA SALIDA CONDENSADOR W | CONDENSER EXIT PEG W | MANICOTTO USCITA CONDENSATORE W | 7 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0
105 | ABRAZADERA INOX 8-16/9W4 NORMA S/F | JUBILEE CLIP INOX 8-16/9W4 NORMA S/F | FASCETTA INOX 8-16 / 9W4 STANDARD S / F | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
193 | JUNTA FILTRO ENTRADA AGUA 3/4" | WATER INLET FILTER GASKET | "GUARNIZIONE/FILTRO ENTRATA ACQUA 3/4""" | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
243 | TORN. DIN 7981 3.5X12.7 INOX | SCREW DIN 7981 INOX | VITE DIN 7981 INOX | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
247 | TORN. DIN 7985 M-5X25 INOX | SCREW DIN 7985 M-5X15 INOX | VITE DIN 7985 M-5X25 INOX | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
248 | TORN. DIN 965 M-5X15 INOX | SCREW DIN 965 M-5X15 INOX | VITE INOX DIN965 M5 x15 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
249 | TORN. DIN 933 M-5X10 INOX | SCREW DIN 933 M-5X10 INOX | VITE DIN 933 M-5X10 INOX | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
258 | TUERCA DIN 934 M-5 INOX | NUT M5 STAINLESS D934 | DADO DIN 934 M-5 INOX | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
261 | TUERCA DIN 934 M-6 INOX | NUT M6 D934 STAINLESS | DADO DIN 934 M-6 INOX | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
264 | ARANDELA DIN 125 M-5 INOX | WASHER STAINLESS M5 D125 | RONDELLA. DIN 125 M-5 INOX | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
285 | TUERCA DIN 934 M-8 ZINC | M8 GAL. NUT | DADO DIN 934 M-8 ZINCO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
293 | VALV AGUA 3.5 B/3.5 B (1073) | WATER INLET VALVE | ELETTROVALVOLA ENTRATA ACQUA | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
310 | ABRAZADERA TUBO RICH 102 ( 15.1-16.7) | JUBILEE CLIP RICH 102 ( 15.1-16.7) | FASCETTA PER TUBO RICH 102(15.1-16.7) | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
311 | TUERCA 522-1C 213020-3 (5283-PNA) DELTATONE | NUT 522 IA 213019-0 (SMALL) | DADO 522-1C 213020-3 (5283-PNA) DELTATONE | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1
318 | MANGUERA 6X12 TRASP. CR06103/CL/0030/ITV | TRANSPARENT HOSE 6X12 | TAGLIO TUBO 6x12 TRASP.CR06103/CL0030 | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
334 | PRESOSTATO SEGURIDAD (30.3-21.7KG) | SAFETY PRESSURE SWITCH | PRESSOSTATO ACB-2UB62(30.3-21.7)02AC0076 | 42 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1
335 | VALVULA SCHRADER 1/4" CAP.S/LLAVE OBUS COMPLETO | VALVE FOR REFRIGERANT REFILL | VALVOLA SCHRADER 1/4 CON VALVOLINA | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
337 | BRIDA UNEX REF.1201-AGUJEROS- | CLIP TUBE | FLANGIA UNEX RIF.1201-FORI- | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
338 | BRIDA NATURAL 2.6x100 (PEQNA) | FLANGE 2.6X100 | FLANGIA NATURALE 2.6x100 (PICCOLA) | Consultar/ consult | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1
363 | COLECTOR DESAGUE 3VIAS | DRAIN FITTING | RACCORDO SCARICO AQUA 3 VIE | 11 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
373 | PASACABLES 610-G | WIRE GUIDING 610-G | PASSACAVO 610-G | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
392 | TORN. DIN 912 M-6X16 INOX A2 | SCREW DIN 912 M-6X16 INOX A2 | VITE DIN 912 M-6X16 INOX A2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
408 | ALARGADERA SHUCKO 4.8-H05VV-F 3X1.5X2.5 BL C-4120 NEGRO VDE | SHUCKO PLUG | CAVO DI ALIMENTAZIONE SHUCKO 4.8-H05W-F 3x1.5 x2.5 BL NERO VDE | Consultar/ consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
410 | MOTOR VENTILADOR 18W+PIE H84 220/50 | FAN 250-83 | MOTOVENTILATORE 18W +PIE H84 220/50 | 54 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
420 | GRASA LÍTICA ALTA PRESIÓN EP2 | GREASE MULTIFAK | GRASSO MULTIFAK EP2 TEXACO | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
424 | PRESOSTATO (OFF 16-ON 17 BAR) | CONDENSATION PRESOSTAT (FAN-WATER) | PRESSONTATO VENTILATORE | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
451 | SEPAR.PART.D.30x250 2S 3/8"(ACC2A30250) | "SEPAR.PART.D.30x250 2S 3/8""(ACC2A30250)" | "BOYLER .D.30x250 2S 3/8 """"(ACC2A30250)""" | 15 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
526 | INYECTOR PLANO DP | DP SPRAY NOZZLE | SPRUZZATORE PIANO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
547 | BOBINA YB09 230/50-60Hz 304398(5173) | COIL YB09 230/50-60 | BOBINA YB09 230 / 50-60Hz 304398 (5173) | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
605 | LAMA CORTINA INTERIOR (10mm) | INNER CURTAIN FLAP | BANDIERINA INTERNA(10MM) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
606 | LAMA CORTINA EXTERIOR (25mm) | OUTER CURTAIN FLAP | BANDIERINA ESTERNA(25MM) | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
626 | TUBO PVC 8-10 GRIS RIGIDO | PVP PIPE 8-10 | TUBO IN PVC GRIGGIO RIGIDO 8-10 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
731 | PASACHAPAS DIAMETRO 50 | HOLE BUSHING RING | PASSACAVO DIAMETRO 50 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
805 | RESTRICTOR 8MM | WATER FLOW RESTRICTOR 8MM | RESTRICTORE 8mm | 9 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
806 | TUBO CRISTAL 15-20 ALIMENTARIO TUBCLAIR | PIPE 15X20 PUMP-DISTRIBUTOR | TUBO CRISTAL 15.20PER ALIMENTI TUBCLAIR | 8 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
843 | VALV.PARKER SOL 3/8"PM145.6IRSP V10S3 | HOT GAS VALVE | "VALV.PARKER 3/8"" PM145.6IRSP V10S3" | 140 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
884 | MANGUERA 10X16 TRANSP. REFORZADA CR10 Clear 30ml/rollo | PIPE 8*16 | TAGLIO TUBO 10X16 Trasparente CR10 RINFORZATO30 ml / rotollo | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
914 | T SOLDAR 3/8 | T WELD 3/8 | TEE SALDATURA 3/8 | 9 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1
976 | CLIP EXPULSORA | EXPELLER CLIP | CLIP SCIVOLLO | 8 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1
1096 | DESHIDRATADOR 40GR 1E 2S 1/4"(SM340S309) | 40 GR DRIER R404 | DESHIDRATATORE 40GR 1E 2S 1/4 (SM340S309) | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1212 | LAMA CORTINA INTERIOR NG20-ECO | INTERNAL FLAP | BANDIERINA INTERNA NG20-ECO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
1213 | LAMA CORTINA EXTERIOR NG20-ECO | EXTERNAL FLAP | BANDIERINA ESTERNA NG20-ECO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
1365 | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO+ADH.ST 5(0.250K/M1) | M2 RLL.TECNOLEN 33-10 FR BCO + ADH.ST 5 (0,250 K / M1) | 29 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
1473 | VALVULA PARKER | HOT GAS VALVE BODY VE127CLS-2.5-220V | VALV.PARKER127 CLS 2.5 | 52 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
1582 | DEFLECTOR GOTAS BOMBA EJE 8 | DEFLECTOR DROPS PUMP SHAFT 8 | DEFLETTORE GOCCE POMPA ALBERO 8 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1599 | ARANDELA DIN 127 M-6 GROVER ZINC | WASHER DIN 127 M-6 | Arand. DIN 127 M-6 GROVER ZINCO | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1673 | VALV AGUA 1B (1146) 220/50-60Hz | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA 1B | 18 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1674 | VALV AGUA 1 B/ 1 B (1147) 220/50-60Hz | WATER VALVE 1B/1B | ELETTROVALV. ACQUA 1B/1B | 25 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
1715 | TOPE PUERTA CORREDIZA | SLIDING DOOR STOPPER | FERMO SPORTELLO | 2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
1717 | DESHIDRATADOR 30GR 1E 2S 1/4"(SM330S309) | DRIER 30GR 1E 2S 1/4 | DESHIDRATATORE 30GR 1E 2S 1/4(SM330S309) | 24 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0
1719 | MANGUERA 6X12 900 | PIPE 6X12 900 | TAGLIO TUBO 6X12 900 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
1743 | MANGUERA 6X12 1450 (318) | PIPE 6X12 1450 (318) | TAGLIO TUBO 6X12 1450 (318) | 7 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
1825 | ROLLO PEB BLANCO BRILLO 250X0.114 | GLOSS WHITE PEB ROLL 250X0.114 | ROTOLO PEB BIANCO LUCIDO 250X0.114 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
1905 | ARANDELA DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | WASHER DIN 125 M-6 | Arand. DIN 125 M-6 PA 00300200778 (6.4x12x1.6) | 3 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
1907 | CORTE TUBO CRISTAL 15-20 -200MM | EVACUATION PIPE IQ 85 230 MM | TUBO DI SCARICO IQ-85 -220MM IL TUO VETRO 15-20- | 8 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
2124 | ALARGADERA 3X2.5X2.5 VDE | ELECTRICAL SUPPLY WIRE | ALARGADERA 3X2.5X2.5 VDE | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
2170 | MOTOR VENT.5W+PIE H52 220/50 M4Q045-BD01-01+71882 | FAN MOTOR 5W H52 220/50 | MOTOVENTILATORE 5 W+PIE H52 220/50 | 35 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2181 | HNG CAJA ELECTRICA | ELECTRIC BOX | SCATOLA ELETTR.HNG | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2182 | HNG TAPA CAJA ELECTRICA | ELECTRIC BOX COVER | COPERCHIO SCATOLA ELETTR. | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2347 | TUERCA FIJACION (NEGRO)1420-010-10 | PLASTIC NUT (R/CH) | INSERTO FISSAGGIO NERO | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2435 | BAFLE CF27 | FAN SUPPORT | DEFLETTORE CONDENSATORE | 20 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2440 | TUERCA FIJACION ITM (TOR 5'5) | PLASTIC NUT 5.5 | INSERTO IN PLASTICA ITM 5.5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2452 | ARANDELA DIN 127 M-8 GROVER ZINC | M 8 GAL GROVER WASHER | RONDELLA. DIN 127 M-8 GROVER ZINCO | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2520 | ARO PASACABLES 44'4 (15514) | GROMET | ANELLO DI PASSAGGIO 44'4 (15514) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
2683 | PRESOST. HTB-3UC47(29.3-24.5KG)UL | SAFETY PRESSOSTAT | PRESSOSTATO SICUREZZA HTB -3UC47(29.3-24.5)UL | 79 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
2782 | REFRIGERANTE R404A | R404A REFRIGERANT | REFRIGERANTE R404A | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3533 | CLIP BRIDA TUBO 1/4 (181286382015) SOPORTE CORTINA | "CLIP TUBE 1/4""" | CLIP TUBO 1/4 (181286382015)SUPPORTO BANDIEINE | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
3634 | CURVA EVAP.P (6500 CR010X) 3/8"x22,9x24x0,5 | EVAPORATOR PART.(6500 CR010X) 3/8x22,9x24x0,5 | """CURVA EVAP.P (6500 CR010X) 3/8 """"x22.9x24x0.5""" | 6 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1
3713 | TUBO 1/4 RECTO U/C -25- | STRAIGHT COPPER TUBE 1/4 C/U -25- | RT TUBO 1/4 DRITTO U / C -25- | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
3808 | TUBO 1/4 CURV U/C (LINEA LIQ) -130- | CURVED COPPER PIPE 1/4 C/U (LINE LIQ) -130- | TUBO 1/4 CURVO U / C(LINEA LIQ.) -130- | 7 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
3815 | TUBO 1/4 CURV U/C (TOMA BAJA) -210- | CURVED COPPER PIPE 1/4 C/U (LOWER OUTLET) -210- | TUBO 1/4 CURVO U / C(PRESA BASSA) -210- | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4036 | SOPORTE CONDENSADOR W ALTO | WATER CONDENSER UPPER SUPPORT | SUPPORTO CONDENSATORE W ALTO | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0
4037 | SOPORTE CONDENSADOR W BAJO | WATER CONDENSER LOWER SUPPORT | SUPPORTO CONDENSATORE W BASSO | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0
4038 | SOPORTE CONDENSADOR W EXTERIOR | WATER CONDENSER EXTERNAL SUPPORT | SUPPORTO CONDENSATORE W ESTERNO | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0
4040 | PALA VENT. 200X28º ALUM.73808-2-3634 | FAN BLADE 200X28 PLASTIC | PALA VENTILATORE 200x28º ALLUM.73808-2-3634 | 8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4098 | TUBO SILICONA 55 MM | SILICON TUBE 60 MM | TUBO SILICONE | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4101 | BANCADA ECO 35/45 (4101CT) | BOTTOM PANEL ECO 35/40 | BASE | 13 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4116 | BANCADA ECO 50 (4116CT) | BOTTOM PANEL ECO 60 | BASE | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4136 | SOPORTE TRASERO ECP 72 (4136CT) | REAR SUPPORT ECO 80 | SUPPORTO TRASERO | 6 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4144 | PATA NIVELADOR PMDA 40 M-10x22 | LEGS | PIEDE LIVELLAMENTO PMDA 40 M-10X22 | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4147 | TUERCA DIN 934 M-10 ZINC | NUT DIN 934 M-10 ZINC | PIEDINI | 3 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4272 | GUIA PUERTA - REMATE BOCA ECO DCHO V.1 | RIGHT DOOR GUIDE FINISH | GUIDA DELLA PORTA - REMATE BOCA ECO DCHO V.1 | 6 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
4273 | GUIA PUERTA - REMATE BOCA ECO IZDO V.1 | LEFT DOOR GUIDE FINISH | GUIDA DELLA PORTA - REMATE BOCA ECO SINISTRA V.1 | 8 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
4276 | PIVOTE PUERTA ECO | DOOR PIVOT | PERNO DELLA PORTA ECO | 2 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
4312 | OMEGA REFUERZO BANCADA ECP 52 (4312CT) | REINFORCEMENT OMEGA FOR BEDPLATE | OMEGA PIASTRA DI BASE ECP 52 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4376 | CONTACTOR MC-18b AC230V 50/60HZ | POWER RELAY CONTACTOR | CONTATTORE MC-18b AC230V 50 / 60HZ | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
4388 | TUBO 1/4 CURV | 1/4 TUBE BEND | 1/4 TUBO CURVO | 4 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4425 | DESAGÜE REBOSADERO NG | DRAIN TUBE NG | TROPPOPIENO SCARICO NG | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4426 | REBOSADERO NIVEL NG | OVERFLOW PIPE | TROPPO PIENO NG | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4427 | TAPA REBOSADERO NG | OVERFLOW PIPE CAP | COPERCHIO TROPPO PIENO NG | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4476 | RESTRICTOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | WATER REGULATOR 2.5L/MIN AMARILLO VALV.ENT.W(1007) | RESTRICTORE 2.5L / MIN GIALLO VALV.ENT.W (1007) | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
4495 | PALA VENT. 254X22º ALUM.73813-2-3634 | FAN BLADE 250X22º | PALA VENTILATORE 254x22ºALLUM.73813-2-3634 | 11 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4496 | JUNTA TORICA 17X2 BLANCA FDA CERTIFICADA | O-RING 17X2 SILICONE | GUARNIZIONE O-RING BIANCA 17x2 FDA CERTIFICATA | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
4501 | RACOR 90º ECO | COUPLING 90º ECO | RACORD | 5 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
4502 | TUERCA RACOR 90º ECO | COUPLING NUT 90º ECO | DADO RACCORDO 90ª ECO | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4503 | JUNTA RACOR 90º INT22x EXT35x2(-0+0,2)SILICONA ALIMENTARIA | JOINT COUPLING 90º ECO SILICONE | GUARNIZONE GIUNTO 90º,35x22x2,SILICONA ALIMENTARE | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4505 | FILTRO RACOR 90º ECO | FILTER COUPLING 90º ECO 35-120 | FILTRO | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4521 | BANDEJA BOMBA ECP-ECO-NG | WATER PUMP TRAY | BACCINELLA POMPA ECP-ECO-NG | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4526 | RESTRICTOR 1L/MIN AZUL VALV.ENT.W (1005) | WATER REGULATOR 1L/MIN AZUL VALV.ENT.W (1005) | RESTRICTOR 1L / MIN BLUE VALV.ENT.W (1005) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
4527 | RESTRICTOR 1.2L/MIN MARRON VALV.ENT.AGUA | WATER FLOW RESTRICTOR 1.2L/MIN | RESTRICTORE1.2L/MIN | 3 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0
4534 | GRAPA SOPORTE TERMOSTATO EVAP. INOX 17x12.2x0.5x1.5 (302) | TUBE CLIP FOR CYCLE THERMOSTAT | CLIP DI SUPPORTO TERMOSTATO EVAP. INOX 17x12.2x0.5x1.5 (302) | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4558 | PALET ECO 30-40 ECP 32-42 | PALLET 30-40 | PALLET ECO 30-40 ECP 32-42 | Consultar/ consult | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4561 | PALET ECO60 ECP52 | PALLET 60 | PALLET ECO60 ECP52 | Consultar/ consult | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4562 | PALET ECO80 ECP72 | PALLET 80 | PALLET ECO80 ECP72 | 29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4594 | RACOR 90º ECO 100 | COUPLING 90º ECO 130 | RACCORDO 90º ECO 130 | 5 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4597 | PALET ECO120 ECP110 | PALLET 120 | PALLET ECO120 ECP110 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4613 | SOPORTE BOMBA ECP 18-52 (4613CT) | WATER PUMP SUPPORT ECO SM. | SUPPORTO POMPA | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4624 | TUBO TERMOSTATO ECP 32/42 | THERMOSTAT TUBE | TUBO TERMOSTATO ECP 32/42 | 3 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0
4627 | TUBO TERMOSTATO | THERMOSTAT TUBE | TUBO TERMOSTATO | 7 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4698 | PALA VENTILADOR BOMBA | FAN BLADE PUMP | PALA VENTOLA POMPA | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4713 | TUBO BOMBA EPDM NEGRO ECO 35/45 -320- | WATER PUMP DISCHARGE TUBE ECO 35/45 | TUBO IMPULSO POMPA | 5 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4714 | TUBO DESAGÜE C/ STOCK ECO 35/45 -260MM EPDM NEGRO- | OVERFLOW PIPE | TUBO SCARICO | 7 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4724 | TUBO IMPULSION BOMBA 60-80-100 -450MM EPDM NEGRO- | WATER PUMP DISCHARGE TUBE ECO 60 | TUBO IMPULSO POMPA | 5 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4726 | TUBO DESAGUE ECO 60-80 -350MM EPDM NEGRO- | DRAIN PIPE ECO 60 | TUBO SCARICO | 5 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0
4727 | TUBO IMPULSION BOMBA ECP 72 -480MM EPDM NEGRO- | WATER PUMP DISCHARGE TUBE ECO 80 | TUBO IMPULSO POMPA | Consultar/ consult | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4729 | TUBO DESAGÜE ECO 100 -195 MM EPDM NEGRO- | DRAIN PIPE 80 | TUBO ESCARICO 80 | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4755 | JUNTA EPDM DIA 30 INTERIOR ESP.2 BLANCA | JOINT EPDM | GUARNIZIONE BIANCA EPDM D 30x2 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
4769 | BOMBA DPN25-347 NSF 220/50Hz | WATER PUMP 220V/50HZ | POMPA DPN25-347 NSF 220/50Hz | 58 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4810 | LATERAL ECO INOX 40 DCHO (4810CT) | RIGHT PANEL ECO 40 | FIANCO DESTRO | 84 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4811 | LATERAL ECO INOX 40 IZDO (4811CT) | LEFT PANEL ECO 40 | FIANCO SINISTRA | 84 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4812 | LATERAL ECO INOX 50 DCHO (4812CT) | RIGHT PANEL ECO 60 | FIANCO DESTRO | 145 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4813 | LATERAL ECO INOX 50 IZDO (4813CT) | LEFT PANEL ECO 60 | FIANCO SINISTRA | 145 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4814 | LATERAL ECO INOX 70 DCHO (4814CT) | RIGHT PANEL ECO 80 | FIANCO DESTRO | 75 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4815 | LATERAL ECO INOX 70 IZDO (4815CT) | LEFT PANEL ECO 80 | FIANCO SINISTRA | 75 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4859 | SUJECCION BOMBA NG-140 (4859CT) | PUMP FASTENING 140 | POMPA SOGGETTO NG-140 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4886 | CORTE TUBO EPDM NEGRO 500 MM | WATER PUMP DISCHARGE TUBE BLACK 550 MM | TUBO NERO 550MM | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4887 | PALA VENT. 200x34º ALUM.73809-2-3634 | FAN BLADE 200X34º | PALA VENTILATORE 200x34º ALLUM.73809-2-3634 | 10 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4994 | PALA VENT. 254x34º ALUM.73815-2-3634 | FAN PADDLE | PALA VENT. ALLUMINIO 254x34º. 73815-2-3634 | 16 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
5016 | COND.W (4V) 2.7M - REP=5242 | WATER CONDENSER | COND.W (4V) 2.7M - REP = 5242 | Consultar/ consult | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5019 | COND.W (10V) 7.08M (REP=5246) | SPARE 5246 - CONDENSER W | COND.W (10V) 7.08M (REP = 5246) | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
5173 | BOBINA VAL.G.C.220/50-60Hz ENGASTADA | HOT GAS COIL 220V-50/60Hz | BOBINA GAS CALDO 220V-50/60HZ | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
5957 | CORTINA ECO 110 | CURTAIN 130 | BANDIERINE | 35 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
6007 | COMPRESOR NEK6217GK 14.3cc 220/240-50Hz R404 | COMPRESSOR NEK6217GK 14.3cc 220/240-50Hz R404 | COMPRESSORE NEK6217GK 14.3cc 220/240-50Hz | 378 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
6017 | MACHO DESAGUE ECO | MALE DRAINAGE | SCARICO | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
6018 | RACOR DESAGUE RECTO ECO | RIGHT DRAIN RACCORD | RACCORDO SCARICO RECTO ECO | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
6021 | TUBO DESAGUE STOCK ECO | STOCK BIN DRAIN TUBE | TUBO SCARICO STOCK | 5 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
6152 | TORN. FASTITE FT85T TORX 4X7 ZINC | SCREW FASTITE FT85T TORX 4X7 ZINC | VITE. FASTITE FT85T TORX 4X7 ZINCO | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
6180 | CLIP PANEL HEMBRA NYLON | CLIP PANEL 14 (FEMALE) | CLIP PANELLO FEMMINA NYLON DCS-7 38000152 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6181 | CLIP PANEL MACHO NYLON | CLIP PANEL 16 (MALE) | CLIP PANNELLO MASCHIO NYLON DCS-1 38000150 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6206 | COLECTOR DESAGUE MS NEGRO | DRAIN PIPE MS BLACK | COLLETORE SCARICO MS NERO | 11 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
6357 | TAPA INFERIOR EXPULSORA MNG | BOTTON COVER MR | COPERCHIO DI ESPULSIONE INFERIORE MNG | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6361 | CUERPO BOMBA MNG | PUMP BODY MNG | CORPO POMPA MNG | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6365 | RODETE BOMBA MNG | PUMP IMPELLER MNG | GIRANTE POMPA MNG | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6418 | CHAPA PUERTA IT SS 30-40 (6418CT) | COVER DOOR INOX 30 40 | COPERTA PORTA | 15 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
6419 | CHAPA PUERTA ICE TECH SS 60 (6419CT) | COVER DOOR INOX 60 | COPERTA PORTA | 18 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6420 | CHAPA PUERTA ICE SS 80 (6420CT) | COVER DOOR INOX 80 | COPERTA PORTA | 23 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
6515 | COMPRESOR NEK6210GK 8.78cc 220/240-50Hz R404 | COMPRESSOR NEK6210GK 8.78cc 220/240-50Hz R404 | COMPRESSORE R404 da 8.78cc 220 / 240-50Hz NEK6210GK | 303 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
6980 | VALV AGUA LIBRE B 220/50-60HZ | INLET WATER VALVE 1B 220V/50HZ | ELETTROVALV. ACQUA LIBERO B 220 / 50-60HZ | 17 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6981 | VALV AGUA LIBRE B/LIBRE B 220V/50-60HZ | WATER INLET VALVE B 220V/50-60HZ | ELETTROVALV ACQUA LIBERO B / LIBERO B 220V / 50-60HZ | 16 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0
6985 | TUBO RECTO ENS. 100MM 1/4 | STRAIGHT COPPER TUBE 100MM 1/4 | TUBO DRITTO ALLARGATO 100MM 1/4 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
7435 | EVAP. 40GR.ECO 40/24 TERMINADO | EVAPORATOR 40 GR 45 | EVAPORATORE 40 GR | 311 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
7440 | EVAP. 40GR.ECO 50/36 TERMINADO | EVAPORATOR 40 | EVAPORATORE 40 GR | 404 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
7454 | COLECTOR ECO 40(6DUCHAS)TERM.(370) | SPRAY BAR IT 45 | COLLECTOR 6 | 35 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
7455 | COLECTOR ECO 50(9DUCHAS)TERM.(448) | SPRAY BAR ECO 60 | COLLECTOR 9 | 39 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
7456 | COLECTOR ECO 70(12DUCHAS)TERM.(578) | SPRAY BAR ECO 80 | COLLECTOR 12 | 44 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
7706 | TAPON GOMA 9X45 | RUBBER PLUG 9X45 | TAPPO IN GOMMA 9X45 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
7769 | SEPARADOR ASPIRACION 75X395 1/2-1/2-3/4 | SUCTION SEPARATOR 75X395 1/2-1/2-3/4 | SEPARATORE ASPIRAZIONE 75X395 1/2-1/2-3/4 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7847 | BOMBA MRNG | PUMP MRNG | POMPA MRNG | 278 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7849 | EJE CORTINA MRNG L=715 | CURTAIN AXE MRNG | ASSALE TENDA MRNG L = 715 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7851 | REFUERZO CORTINA MRNG (7851CT) | CURTAIN REINFORCEMENT MRNG | RINFORZO TENDINA MRNG | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7852 | CONJUNTO CORTINA MRNG 400 | CURTAIN ASSEMBLY MRNG400 | ASSEMBLEA DELLA TENDA MRNG 400 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7864 | PANEL FRONTAL DISPLAY MRNG (7864CT) | FRONT DISPLAY PANEL MRNG | DISPLAY MRNG PANNELLO FRONTALE | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7936 | TAPA EVAPORADOR MR-400 | TOP COVER EVAPORATOR MR400 | MR-400 COPERCHIO EVAPORATORE | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7999 | VALVULA EXPANSION TUB ORIF.7 3/8X1/2 ODF | VALV.EXP. TUB 068U2100 ORIF.7 3/8X1/2 ODF | VALV.EXP. TUB 068U2100 ORIF.7 3 / 8X1 / 2 ODF | 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8099 | TUBO TERMOSTATO INOX MR400 | THERMOSTAT TUBE INOX MR400 | TUBO TERMOSTATO INOX MR400 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8176 | SOPORTE CORTINA ECO 40 PL. | CURTAIN SUPPORT 40 | SUPPORTO TENDA ECO 40 PL. | 10 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
8177 | SOPORTE CORTINA ECO 60 PL. | CURTAIN SUPPORT 60 | SUPPORTO TENDA ECO 60 PL | 11 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8178 | SOPORTE CORTINA ECO 80 PL. | CURTAIN SUPPORT 80 | SUPPORTO TENDA ECO 80 PL | 13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
8226 | PRESOSTATO BAJA ACB-2UA616 (0.5-2 BAR) | SAFETY PRESSURE SWITCH | BASSA PRESSIONE ACB-2UA616 (0,5-2 BAR) | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8327 | CONDENSADOR 9X3 (220X2.5) | CONDENSER 9X3 (220X2.5) | CONDENSATORE 9X3 (220X2,5) | 435 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8359 | EJE CORTINA ECO 40 L=375 | CURTAIN AXE 40 L | ASSE TENDA ECO 40 L = 375 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
8362 | MONTAJE CORTINA ECO 40 | CURTAIN ASSEMBLY ECO 40 | SUPPORTO TENDA ECO 40 | 36 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
8363 | MONTAJE CORTINA ECO-60 | CURTAIN ASSEMBLY ECO 60 | SUPPORTO TENDA ECO-60 | 31 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8411 | PASACABLES A PRESION (UL) RETENEDOR | WIRE HOLE 31.615/6/R | PASSACAVI A PRESSIONE (UL) BLOCCANTE | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
8425 | CONTACTOR MC-22a/4 (4 POLOS) 220V | CONTACTOR MC-22a/4 (4 POLES) 220V | CONTATTORE MC-22a/4 (4 POLI) 220V | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8461 | PANEL DISPLAY NEGRO COMPLETO | DISPLAY BLACK | PANNELLO DISPLAY NERO COMPLETO | 221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8462 | SEPAR.PART.D34X0.6X170 1A 3/8-3/8 | PARTICLES SEPARATOR D34X0.6X170 1A 3/8-3/8 | BOYLER .D34X0.6X170 1A 3 / 8-3 / 8 | 13 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8687 | BOMBA DPS35 - 058N 220-240V / 50HZ / 40W | PUMP DPS35 - 058N 220-240V / 50HZ | POMPA DPS35 - 058N 220-240V / 50HZ / 40W | 152 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0
8829 | TUBO ASPIRACION BOMBA ECO 30-40 (L320) | SUCTION TUBE OF PUMP 30 40 | TUBO ASPIRAZIONE POMPA ECO 30-40 (L320) | 16 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
8830 | TUBO ASPIRACION BOMBA ECO 60 (L450) | SUCTION TUBE OF PUMP 60 | TUBO ASPIRAZIONE POMPA ECO 60 (L450) | 12 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8831 | TUBO ASPIRACION BOMBA ECO 110 (L500) | SUCTION TUBE OF PUMP 110 | TUBO ASPIRAZIONE POMPA ECO 110 (L500) | 15 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0
8872 | AISLAMIENTO VAL. EXP. DANFOSS TUB | DANFOSS INSULATED | ISOLAMENTO VALV. EXP. DANFOSS TUB | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8996 | SUJECION CUBIERTA ECO | TOP COVER FASTENING | MORSETTO COPERTO ECO | 9 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
30022 | SONDA NTC 10K IP68 INOX 6X50 (SN8T6N1502) | SENSOR NTC 10K IP68 INOX 6X50 (SN8T6N1502) | SONDA NTOX 10K IP68 INOX 6X50 (SN8T6N1502) | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30054 | REFUERZO CUBA INTERIOR MR (30054CT) | BIN SUPPORT MR | RINFORZO INTERNO BASCA MR | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30087 | JUEGO TAQUETS PROGRAMADOR CDC- UN SOLO PROGRAMADOR (CON TAQUETS EXTRAS) | CDC PROGRAMMER TAP GAME | SET CAVALIERI PROGRAMMATORE CDC | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
30172 | OMEGA REFUERZO CUBIERTA ECO70 (30172CT) | REINFORCEMENT TOP COVER 70 | RINFORZO OMEGA COVERED ECO70 | 13 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
30239 | TRASERA P. FRIA MRNG INOX (30239CT) | REAR COLD P. MRNG INOX | POSTERIORE P. FRIA MRNG INOX | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30240 | TRASERA P.CALIENTE MRNG INOX (30240CT) | REAR HOT STORE MRNG INOX | POSTERIORE P.CALIENTE MRNG INOX | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30300 | LAMA EXTERIOR DOBLE LARGA | DOUBLE LONG EXTERNAL LATTICE | BANDIERINA ESTERNA DOPPIA LUNGA | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30308 | MUELLE SUJECION FILTRO BOMBA | FILTER PUMP FASTENING SPRING | MORSETTO FILTRO POMPA A MOLLA | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30309 | FILTRO BOMBA MRNG | MRNG PUMP FILTER | FILTRO DELLA POMPA MRNG | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30466 | ARANDELA 36X23.5X0.7 INOX MATE | WASHER 36*23 | RONDELLA 36X23.5X0.7 INOX MATE | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
30669 | GUIA ECO 110 INFERIOR IZQ | LOWER LEFT DOOR GUIDE | ECO 110 GUIDA INFERIORE IZQ | 19 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30670 | GUIA ECO 110 INFERIOR DCHA | LOWER RIGHT DOOR GUIDE | GUIDA ECO 110 INFERIORE DESTRA | 19 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30671 | REMATE PUERTA ECO 110 IZQ | FINISH DOOR ECO 110 LEFT | REMATE DOOR ECO 110 IZQ | 13 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30672 | REMATE PUERTA ECO 110 DCHA | FINISH DOOR ECO 110 RIGHT | PORTA REMATA ECO 110 DCHA | 13 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30673 | TIRADOR PUERTA ECO 110 DELANTERO | ECO 110 FRONT DOOR HANDLE | MANIGLIA PORTA ECO 110 ANTERIORE | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30674 | TIRADOR PUERTA ECO 110 TRASERO | ECO 110 REAR DOOR HANDLE | MANIGLIA PORTA ECO 110 POSTERIORE | 10 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30681 | RAMPA CAIDA HIELO MR | ICE FALL RAMP MR | RAMPA DI CADUTA DI GHIACCIO MR | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30722 | ARANDELA DIN 9021 M-5 INOX A2 (5.3X15X1.2) | ARAND. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | RONDELLA. DIN 9021 M-5 INOX A2 (5.3X15X1.2) | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30789 | ARANDELA BASE DUCHA MR | SPRAY NUZZLE WASHER | RONDELLA BASE DOCCIA MR | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30793 | ETIQUETA ICE TECH CORTE E IMPRESION 110x16 mm MARCA | ICE TECH LABEL CUT AND PRINT 110x16 mm BRAND | ETICHETTA ICE TECH TAGLIO E TAMPA 110x16 mm MARCHIO | 11 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0
30944 | VENTILADOR EC P300 200-240V/50-60HZ S1G300-FO01-13 | FAN EC P300 200-240V/50-60HZ S1G300-FO01-01 | VENTOLA EC P300 200-240 V / 50-60 HZ S1G300-FO01-01 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31005 | CASQUILLO FIJACION GUIA PUERTA ECO | ECO DOOR GUIDE FIXING CAP | TAPPO DI FISSAGGIO GUIA PUERTA ECO | 8 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
31145 | CHAPA PUERTA ECO 110 NEGRO (31145CT) | BLACK DOOR PANEL ECO 110 | COPERTURA PORTA ECO 110 NERO | 20 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
31146 | PUERTA ECO 110 NEGRO | DOOR | PORTA ECO 110 NERA | 127 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
31182 | U TABIQUE CUBA NG140 (31182RB) | U PARTITION TANK NG140 (31182RB) | U TABIQUE BASCA NG140 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31271 | LAMA EXTERIOR DOBLE CORTA | DOUBLE SHORT EXTERNAL LATTICE | BANDIERINA EXTERNA DOPPIA PICCOLA | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
31276 | REFRIGERANTE R452A | REFRIGERANT R452A | REFRIGERANTE R452A | Consultar/ consult | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
31372 | EVAPORADOR 40GR MAX NG 140/96 TERMINADO | EVAPORATOR 40GR MAX NG 140/96 FINISHED | EVAPORATORE 40GR MAX NG 140/96 FINITO | 1232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
31758 | TERMOSTATO PARO (R290) | BIN THERMOSTAT | TERMOSTATO CONTENITORE K50B XXXX (R290) | 29 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 1
31791 | MANGUERA ENTRADA AGUA WATERMARK (59000240) | WATERMARK WATER PIPE | TAGLIO TUBO INGRESSO ACQUA WATERMARK (59000240) | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
32017 | CANTONERA GRUPO 4 LONGITUD 745-730-705-675 | GROUP 4 ANGLE LENGTH 745-730-705-675 | TELAIO GRUPPO 4 LUNGHEZZA 745-730-705-675 | 8 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
32102 | VALVULA RPV-100 220V/50-60HZ | VALVE RPV-100 220V/50-60HZ | VALVOLA RPV-100 220V/50-60HZ | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32672 | TUBO PVC 8-10 30mm | OVERFLOW PIPE EVAPORATOR P6585145 | TROPPOPIENO P65-145 (400MM 8X10) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
32731 | CONDENSADOR 11X3 2V P254 T1/4 | CONDENSER 11X3 2V P254 T1/4 | CONDENSATORE 11X3 2V P254 T1/4 | 205 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
35947 | TORN. DIN 7981 3.5X9.5 INOX A2 | DIN 7981 3.5X9.5 A2 STAINLESS STEEL SCREW | Vite in acciaio inossidabile DIN 7981 3,5X9,5 A2 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
42680 | CUADRO Y CABLEADO MRNG ICE-TECH | ELECTRICAL SWITCHBOX MRNG | TAVOLO E CABLAGGIO MRNG ICE-TECH | 668 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
153A | TERMOSTATO (CICLO) | CYCLE THERMOSTAT ATB-X367 | TERMOSTATO ATB-X367 (CICLO) K22SS1096000A.01 | 63 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
1938G | TAPA REGISTRO GRIS | GRAY REGISTRATION COVER | COPERCHIO REGISTRAZIONE GRIGIO | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30237A | CUBIERTA MRNG V.INOX (30237ACT) | COVER MRNG V. INOX | COPERCHIO MRNG V.INOX | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
3064B | DESHIDRATADOR 3/8"S | DRIER DML083S 3/8 S (23Z4570) | "DESHIDRATATORE DML083S 3/8 ""S (23Z457091)" | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
30667A | GUIA ECO 135 110 SUPERIOR IZQ | LEFT DOOR GUIDE | GUIDA ECO 110 SUPERIORE IZQ | 12 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30668A | GUIA ECO 135 - 110 SUPERIOR DCHA | RIGHT DOOR GUIDE | ECO 110 GUIDA SUPERIORE DESTRA | 12 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
30755B | CONJUNTO SOLDADO INTERCAMBIADOR D35x360 | WELDED EXCHANGER ASSEMBLY D35x360 | GRUPPO SALDATO SCAMBIATORE 50x360 (codice 7770) | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
333A | BU-FLEX OUTLET HOSE 21C/22 L.1'8 MTS. RUBBER 20 | WATER OUTLET DRAINING HOSE | TUBO DI SCARICO 21C/22,L1.8MT | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
380C | PROGRAMADOR 20' 220/50 C/TAQ.(2 MICROS) | 20' TIMER | PROGRAMMATORE 20 '220/50 C / TAQ. (2 MICROS) 4902CI0BGR000.1000 380C | 88 | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0
4063A | REJILLA PLASTICO IQ85 NG-40 | IQ85 NG-40 PLASTIC GRILLE | IQ85 NG-40 GRIGLIA IN PLASTICA | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4108U | TRASERA ECO 30/40 R290 (4108UCT) | REAR COVER | POSTERIORE EC0 30/40 R290 | 56 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4230A | MOTOR VENTILADOR .10W SIN PIE | FAN MOTOR 10 W | MOTOVENTILATORE | 49 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4268A | PUERTA ECO 40 REFORZADAS VIP | DOOR ECO 35/45 | PORTA | 15 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4269A | PUERTA ECO 60 | DOOR ECO 60 | PORTA | 28 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4270A | PUERTA ECO 70/80 | DOOR ECO 80 | PORTA | 29 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
448A | FILTRO 18x60 1/4-1/4" C/T | FILTER 18x60 1/4-1/4 C/T | """FILTRO 18x60 1 / 4-1 / 4 """"C / T""" | 16 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
4513A | TERMOSTATO EVAP. | EVAPORATOR THERMOST. | TERMOSTATO EVAP. K22S1098000 | 38 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 0 | 0
4816A | LATERAL ECO INOX 100 DCHO (4816ACT) | RIGHT PANEL ECO 120 | FIANCO DESTRO INOX ECO 100 | 245 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4817A | LATERAL ECO INOX 100 IZDO (4817ACT) | LEFT PANEL ECO 120 | FIANCO SINISTRO INOX ECO 100 | 245 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4818V2 | CUBIERTA ECO 40 INOX (4818V2CT) | ECO 40 STAINLESS STEEL COVER (4818V2CT) | COPERCHIO IN ACCIAIO INOSSIDABILE ECO 40 (4818V2CT) | 51 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
4819V1 | CUBIERTA ECO 50 INOX (4819V1CT) | INOX COVER 50 | COPERTURA INOX ECO 50 | 48 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4820V1 | CUBIERTA ECO 70 INOX (4820V1CT) | INOX COVER 70 | COPERTURA INOX ECO 70 | 100 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
4821V1 | CUBIERTA ECO 100 INOX REF (4821V1CT) | INOX COVER 100 | COPERCCHIO ECO 100 INOX RIF | 95 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
4864C | PROGRAMADOR 15' 220/50 C/TAQ.(2 MICROS) | TIMER 15 220/50-60HZ | PROGRAMMATORE 15' 220/50 C,TAQ, (2 MICRO) | Consultar/ consult | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0
6360B | INYECTOR MNG (B) | NUZZLE MNG | INIETTORE DI MNG (A) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6469A | CONDENSADOR 32X4 MNG-400 | SPARE - CONDENSER 32*4 | CONDENSATORE 32X4 MNG-400 | 781 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6488A | TUBO IMPULSION MNG | MNG IMPULSION PIPE | TUBO DI IMPULSIONE MNG | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6796A | TORNILLO MOLETEADO M-5X23 INOX | SCREW STAINLESS M-5X23 | VITE IN ACCIAIO INOSSIDABILE M-5X23 | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
6935A | CABLEADO ECO 40-60-80 | ELECTRIC BOARD 40 60 80 | CABLAGGIO ECO 40-60-80 | 46 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0
7460A | CUBA STOCK ECO 40 TERMINADA (7460CO) | STOCK BIN ECO 40 (7460CO) | BASCA STOCAGGIO ECO 40 (7460ACO) | 197 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
7476E | MINI PRESOSTATO 16-18 BAR | CONDENSATION PRESSURE SWITCH 16-18 | MINI PRESSOSTATO NSDHF-EW15001 16-18 BAR | 28 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
7497A | COLECTOR ECO 110(18DUCHAS)TERM.(857) | SPRAY BAR 130 | COLLECTOR 18 | 87 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0
7773A | CUBA FABRICACION MNG TERMINADA (7773ACO) | CUBA MNG MANUFACTURING COMPLETED (7773ACO) | MNG CUBE FABBRICATO FINITO (7773CO) | Consultar/ consult | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7842A | COMPRESOR AG4561P-TZ TU M18 400/440-50/60HZ TUBOS (112.5CC) | AG4561P-TZ TU M18 400/440-50/60HZ TUBE COMPRESSOR (112.5CC) | AG4561P-TZ TU M18 400/440-50/60HZ COMPRESSORE A TUBO (112,5 CC) | 1792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
7845A | COJINETE DUCHA MRNG V2 | SHOWER NOZZLE BEARING MRNG | CUSCINETTO DOCCIA MRNG V2 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7846A | CONJUNTO BRAZO DUCHA MRNG V2 | NOZZLE ASSEMBLY MRNG V2 | MONTAGGIO BRACCIO DOCCIA MRNG V2 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7853A | SOPORTE EVAPORADOR MRNG (7853ARB) | MRNG EVAPORATOR SUPPORT | SUPPORTO EVAPORATORE MRNG | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
7882E | PLACA CONTROL MRNG C/PILA C/CONECTORES ATEX | MRNG CONTROL BOARD WITH BATTERY AND ATEX CONNECTORS | SCHEDA DI CONTROLLO MRNG CON BATTERIA E CONNETTORI ATEX | 182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8090A | CONJUNTO PANEL FRONTAL MNG | MNG FRONT PANEL ASSEMBLY | MNG SET PANNELLO ANTERIORE | 291 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8097A | MONTAJE ENTRADA AGUA MR400 AIRE | MR400 AIR WATER INLET ASSEMBLY | MONT.ENT.AGUA MR400 AIR | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8364A | MONTAJE CORTINA ECO-80 | CURTAIN ASSEMBLY ECO 80 | SUPPORTO TENDA ECO-80 | 30 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
8378A | COMPRESOR (FH2) FH4538Z-XN TU 220/60/I (63CC) | COMPRESSOR (FH2) FH4538Z-XN TU 220/60/I (63CC) (FH4ZF1DF602A23) | COMPRESSORE (FH2) FH4538Z-XN TU 220/60/I (63CC) (FH4ZF1DF602A23) | 1484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8389A | EXPULSORA MR COMPLETA EJE INOX | EJECTOR MR COMPLETE STAINLESS STEEL SHAFT | EXPULSOR MR ALBERO COMPLETO INOX | 246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
8904C | REJILLA EXPULSORA VARILLAS ECO40 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO40 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
8905A | REJILLA EXPULSORA VARILLAS ECO50 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO50 | 15 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8906A | REJILLA EXPULSORA VARILLAS ECO70 | ICE CUBES RAMP | GRIGLIA ESPULSIVA VARILLAS ECO70 | 16 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0
8907B | REJILLA EXPULSORA VARILLAS ECO130 | CUVE EJECT GRILL 110 | GRIGLIA DI ESPULSIONE VARILLAS ECO110 | 84 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0